## Schedule Planner
PPM SCHEULE
Centre/Site:
Year:
Schedule Name | Location | Frequency | Supplier | January 2022 | February 2022 | March 2022 | April 2022 | May 2022 | June 2022 | July 2022 | August 2022 | September 2022 | October 2022 | November 2022 | December 2022
Accessible Toilet Alarm System Maintenance | R031 - Accessible Toilet | 6 MONTH(S)
Blinds and Glazing Inspection | FCCLCC - Luttellstown Community Centre | 1 YEAR(S)
Boiler Maintenance | R027 - Plant Room | 1 YEAR(S)
Boiler Pump Maintenance | R027 - Plant Room | 1 YEAR(S)
Check of Defibilator battery | R012 - Main Office | 1 MONTH(S)
Comms Cabinet inspection | R017 - Cleaners Store 1 | 1 YEAR(S)
Contract Access Control System | R011 - Lobby No 1 (immediately inside main door) | 1 YEAR(S)
Contract Basket Ball Hoop x 2 Maintenance | R030 - PE Hall | 1 YEAR(S)
Contract Basket Ball practice Hoop x 4 Maintenance | R030 - PE Hall | 1 YEAR(S)
Contract BMS Maintenance | R027 - Plant Room | 1 YEAR(S)
Contract Building Earthing System | FCCLCC - Luttellstown Community Centre | 1 YEAR(S)
Contract CCTV System Maintenance | R017 - Cleaners Store 1 | 1 YEAR(S)
Contract Closed system maintenance | R027 - Plant Room | 6 MONTH(S)
Contract Defibrilator Maintenance | R012 - Main Office | 1 YEAR(S)
Contract Electronic Scoreboard Maintenance | R030 - PE Hall | 1 YEAR(S)
Contract Fall Arrest System | FCCLCC - Luttellstown Community Centre | 1 YEAR(S)
Contract Fire Alarm System Maintenance | R011 - Lobby No 1 (immediately inside main door) | 1 QUARTER(S)
Contract Fire Dampers Inspection | FCCLCC - Luttellstown Community Centre | 1 YEAR(S)
Contract Fire Door Inspections | FCCLCC - Luttellstown Community Centre | 6 MONTH(S)
Contract Gas Detection Maintenance | R027 - Plant Room | 6 MONTH(S)
Contract Gas Slam Shut Maintenance | R027 - Plant Room | 6 MONTH(S)
Contract Goal Posts Maintenance | R030 - PE Hall | 1 YEAR(S)
Contract Intruder Alarm System Maintenance | R011 - Lobby No 1 (immediately inside main door) | 1 YEAR(S)
Contract Lift Maintenance | R016 - Lift | 1 QUARTER(S)
Contract Lightning Protection Inspection | FCCLCC - Luttellstown Community Centre | 1 YEAR(S)
Contract PA and Disabled Refuge System Maintenance | R011 - Lobby No 1 (immediately inside main door) | 6 MONTH(S)
Contract Partition Net Inspection | R030 - PE Hall | 1 YEAR(S)
Contract PAT Testing | FCCLCC - Luttellstown Community Centre | 1 YEAR(S)
Contract Portable Fire Extinguishers | FCCLCC - Luttellstown Community Centre | 1 YEAR(S)
Contract Roof drainage systems maintenance | FCCLCC - Luttellstown Community Centre | 1 YEAR(S)
Contract Site Drainage Maintenance | FCCLCC - Luttellstown Community Centre | 1 YEAR(S)
Contract Sports Hall vents inspection | R030 - PE Hall | 1 YEAR(S)
Contract Statutory Lift Inspection | R016 - Lift | 6 MONTH(S)
Contract Tap Outlet Sampling | FCCLCC - Luttellstown Community Centre | 6 MONTH(S)
Contract Water Risk Assessment | FCCLCC - Luttellstown Community Centre | 1 YEAR(S)
Door Inspections (Normal) | FCCLCC - Luttellstown Community Centre | 1 YEAR(S)
Electric Blinds (Hoist required - August Maintenance) | R030 - PE Hall | 1 YEAR(S)
Electricity meter Readings (weekly) | R027 - Plant Room | 1 WEEK(S)
Emergency lighting test | FCCLCC - Luttellstown Community Centre | 1 QUARTER(S)
External Lighting Inspection including Sports Pitches | FCCLCC - Luttellstown Community Centre | 1 MONTH(S)
Extract Fans | FCCLCC - Luttellstown Community Centre | 1 YEAR(S)
Fire Hydrant Inspection | FCCLCC - Luttellstown Community Centre | 6 MONTH(S)
Fire Stopping R/A | FCCLCC - Luttellstown Community Centre | 1 YEAR(S)
Gas distribution systems inspection | R027 - Plant Room | 1 YEAR(S)
Gas fired water heater Maintenance | R027 - Plant Room | 1 YEAR(S)
Gas meter Readings (weekly) | R027 - Plant Room | 1 WEEK(S)
General Lighting Inspection | FCCLCC - Luttellstown Community Centre | 1 QUARTER(S)
Grilles & Vents Clean | FCCLCC - Luttellstown Community Centre | 1 YEAR(S)
Hand dryer maintenance | FCCLCC - Luttellstown Community Centre | 6 MONTH(S)
High Level - Sports Hall Lighting Maintenance | R030 - PE Hall | 1 YEAR(S)
High Level - Sports Hall Window Vents and Glazing Maintenance | R030 - PE Hall | 1 YEAR(S)
High level Radiant Panels (Hoist required - August Maintenance) | R030 - PE Hall | 1 YEAR(S)
Hot Water Expansion Vessel Maintenance | R027 - Plant Room | 1 YEAR(S)
Ironmongery Inspection | FCCLCC - Luttellstown Community Centre | 1 YEAR(S)
Pressurisation Unit Maintenance | R027 - Plant Room | 1 YEAR(S)
Pump Maintenance | R027 - Plant Room | 1 YEAR(S)
Radiator inspection & TRVs | FCCLCC - Luttellstown Community Centre | 1 YEAR(S)
RCD Testing | FCCLCC - Luttellstown Community Centre | 1 YEAR(S)
Roof Inspection | FCCLCC00 - Ground Floor | 1 YEAR(S)
Showers - Check & Descale | FCCLCC00 - Ground Floor | 1 QUARTER(S)
Storage Tank Inspection | R027 - Plant Room | 1 YEAR(S)
Telephone System Check | R017 - Cleaners Store 1 | 1 YEAR(S)
Thermographic Survey | FCCLCC - Luttellstown Community Centre | 1 YEAR(S)
TMV Maintenance | FCCLCC - Luttellstown Community Centre | 1 YEAR(S)
Water Flushing Plan | FCCLCC - Luttellstown Community Centre | 1 WEEK(S)
Water meter Readings (weekly) | R027 - Plant Room | 1 WEEK(S)